Thermostat module Model XH-W1304

[image: image1.jpg]



Item: Digital Thermostat module Model XH-W1304
Can set any time range to control the temperature, for example, 8: 30 ~ 18: 00 control temperature is 60℃, other time off.

Specifications Model: XH-W1304
Temperature control: on-off
Control mode: heating, cooling;
Temperature control range: -50-110 
Control accuracy: +/- 0.1 
Power supply voltage: DC12v;
Output: Single channel Relay output;
Enviroment required: -10 to 60,humidity 20%-85%.
Appearance size: 78* 49*27mm

Place of origin: China factory sell directly , Sell to worldwide.

[image: image2.jpg]




 INCLUDEPICTURE "http://www.smartclima.com/wp-content/uploads/2017/02/XH-W1304-03.jpg" \* MERGEFORMATINET [image: image3.jpg]




 INCLUDEPICTURE "http://www.smartclima.com/wp-content/uploads/2017/02/XH-W1304-12V-wiring.jpg" \* MERGEFORMATINET [image: image4.jpg]12V/24VER 5





 INCLUDEPICTURE "http://www.smartclima.com/wp-content/uploads/2017/02/XH-W1304-220v-wiring.jpg" \* MERGEFORMATINET [image: image5.jpg]12V Converter

220VERiR





 INCLUDEPICTURE "http://www.smartclima.com/wp-content/uploads/2017/02/Digital-Thermostat-module-Model-XH-W1304-key.jpg" \* MERGEFORMATINET [image: image6.jpg]Clock/temperature screen
A2 A

w4/
Aa 2A% X r = X
Heating mode] : Output indicator
B4 X AR
Cooling modg Time-control start
Tl
Decrease
rinet

Increase





Press “SET” once  to enter the main MENU:

[image: image7.jpg]55 codd #Emeanind  @EwEsetifg  Bilintial

PO Start time-control mode ON /OFF OFF
P1 Set starting-temp. -50~110C 26
I3 Set stop-temp. -50~110C 28
P3 Set starting-time: 00:00~23:59 8: 00
P4 Set stop-time 00:00~23:59 18: 00
Ps showing-time too long. 0-10S 2
P6 Showing-temp. toolong 0-10S 5
) High temp. alarm -50-110°C 110
P8 LoulEmpaain: -50-110C -50
P9 Temp. correction -7.0~+7.0C 0
P10 Time correction
P11 Time difference correction 25~+25S 0





(Press both + – key to power on to recover initial value)

Indicator and fault code description
MH: Yellow heating mode indicator
If C: (blue) Cooling mode indicator
OUT: (red) Output indicator
TIME: (green) Time control indicator
LLLL: No sensor connected or sensor faulty
HHHH: The measuring range is exceeded or the sensor is faulty
Temperature flashing: the current state is set or in high and low temperature alarm

Detailed function
PO, open when the control mode: turn on this function panel TIME indicator light, then the temperature output can only
For the set time, refer to P3 P4
P1  P2, set the start and stop temperature:
Low temperature start to heating mode (P1 <P2) MH light
High-temperature start for the cooling mode (P1> P2) MC lights
P3  P4, set the temperature control period, this function must be set to ON PO to take effect
P5  P6, set the alternate display dwell time, which is the temperature and current time to switch back and forth time, single
Bit for seconds, can also turn off one of the display, only to retain the time or temperature display.
P7  P8, high and low temperature alarm settings: When the temperature reaches the set temperature screen flashes, buzzer, etc.
P9, temperature correction: when the measured temperature and the actual temperature can be offset by this function correction, correction
After the value of two real-time temperature + temperature correction value
P10, adjust the current time
P11, time difference correction: a fixed addition and subtraction of a few seconds per day to solve the clock error

Case Description
Heating mode 06: 30-21: 00 turn on heating, and the temperature is higher than 60℃ to stop, less than 50℃ start heating
PO = ON Turns on
P1 = 50 Set the start temperature to 50 
P2 = 60 Set the heating to 60 to stop
P3 = 06: 30 Set the start time
P4 = 21: 00 Set the off time
2. Cooling mode does not open when the control, the need to control the temperature of all the young, when the temperature is higher than 50 to open the fan, cooling to 45 to stop
PO = OFF is not open when the control, in the all-day temperature control state
P1 = 50 Set the starting temperature to 50
P2 = 45 Set the temperature to 45  to stop

· The Digital Thermostat Module Model XH-W1304 is available for retail and wholesale;

· Accept customized bulk production,putting your logo;

· The place of origin is in China,when you buy one or a small quantity,please consider freight into the cost;

· Accept bulk order with Container delivery;

· Please contact us to email: econtrol@smartclima.com or sale@smartclima.com,we can supply a favourite item you need.

Описание кода индикатора и кода неисправности

MH: желтый индикатор режима нагрева

Если C: (синий) Индикатор режима охлаждения

OUT: (красный) Индикатор выхода

ВРЕМЯ: (зеленый) Индикатор времени

LLLL: датчик не подключен или датчик неисправен

HHHH: диапазон измерения превышен или датчик неисправен

Мигает температура: задано текущее состояние или сигнал высокой и низкой температуры

Подробная функция

PO, откройте, когда режим управления: включите эту функциональную панель индикатора TIME, тогда выход температуры может быть только

За установленное время см. P3 P4

P1 P2, установите начальную и конечную температуру:

Низкая температура начинается в режиме нагрева (P1 <P2) MH свет

Высокотемпературный старт для режима охлаждения (P1> P2) Индикаторы MC

P3 P4, установите период регулирования температуры, эта функция должна быть установлена ​​на ON PO для вступления в силу

P5 P6, установите время ожидания альтернативного дисплея, которое представляет собой температуру и текущее время для переключения времени взад и вперед, одиночный

Бит в секундах, также может отключить один из дисплеев, только для сохранения отображения времени или температуры.

P7 P8, настройки сигнализации высокого и низкого уровня: когда температура достигает заданного значения температуры, мигает экран, зуммер и т. Д.

P9, температурная коррекция: когда измеренная температура и фактическая температура могут быть компенсированы этой функцией коррекции, коррекция

После значения двух значений температуры + температуры в режиме реального времени

P10, отрегулируйте текущее время

P11, коррекция разницы во времени: фиксированное сложение и вычитание нескольких секунд в день для устранения ошибки часов

Описание случая

Режим нагрева 06: 30-21: 00 включите нагрев, а температура выше 60 ℃ для остановки, менее 50 ℃ начнет нагрев

PO = ON Включается

P1 = 50 Установите начальную температуру до 50 ℃

P2 = 60 Установите нагрев на 60 ℃ для остановки

P3 = 06: 30 Установите время начала

P4 = 21: 00 Установите время выключения

2. Режим охлаждения не открывается, когда управление, необходимость контролировать температуру всех молодых, когда температура выше 50 ℃, чтобы открыть вентилятор, охлаждение до 45 ℃ для остановки

PO = ВЫКЛ не открывается, когда управление в режиме регулирования температуры в течение всего дня

P1 = 50 Установите начальную температуру до 50 ℃

P2 = 45 Установите температуру на 45 ℃, чтобы остановить

